## Slide 1
PAL
Employee Orientation
Safety expectations for PAL project sites
Canva-ready storyboard deck with narration text

## Slide 2
PAL Environmental Services
Employee Orientation
Visual / video clip placeholder
Safety
Compliance
Communication
Narration
Welcome to PAL Environmental Services orientation. This training introduces the safety expectations, required training records, jobsite rules, and reporting procedures every PAL employee must understand before working on a project. Your safety, the safety of your crew, and the protection of the environment...
PAL Environmental Services
Scene 1

## Slide 3
Orientation Goals
Why this training matters
Visual / video clip placeholder
Protect employee health and safety
Prevent accidents through planning
Educate employees
Meet or exceed requirements
Maintain clear communication
Narration
PAL orientation is built around five goals: protecting employee health and safety, preventing accidents through planning and risk assessment, educating employees, meeting or exceeding safety requirements, and keeping clear communication between employees, supervisors, and management.
PAL Environmental Services
Scene 2

## Slide 4
Required Training Records
Before work begins
Visual / video clip placeholder
NYC SST or OSHA 30
Fall prevention training
Scaffold user training
Fit test and medical clearance when required
Narration
Before working on a PAL project, employees must have the required training records for the work they will perform. At minimum, this may include NYC Site Safety Training or OSHA 30, fall prevention training, scaffold user training, and fit test and medical clearance when respiratory protection is required.
PAL Environmental Services
Scene 3

## Slide 5
PPE Required At All Times
Arrive prepared for the jobsite
Visual / video clip placeholder
Hard hat
High visibility vest
Approved safety glasses
Work boots
Long pants and proper shirt coverage
Task-specific PPE when required
Narration
PAL employees must report to the job prepared with required personal protective equipment. At a minimum, workers must wear an approved hard hat, high visibility vest, approved safety glasses, work boots, long pants, and proper shirt coverage. Some tasks may require additional PPE such as face shields,...
PAL Environmental Services
Scene 4

## Slide 6
Fall Protection
Six feet or greater
Visual / video clip placeholder
Training required for fall exposure
Inspect fall protection before use
Guardrails and hole covers must be secure
Anchor points must be rated correctly
Barricade work below when needed
Narration
Any employee exposed to a fall hazard of six feet or greater must have fall protection training. Fall hazards include open edges, aerial lifts, scaffolds over six feet, and walkways bridging gaps. Guardrails, hole covers, and personal fall arrest systems must be properly installed, inspected, and used....
PAL Environmental Services
Scene 5

## Slide 7
Electrical Safety
Inspect before use
Visual / video clip placeholder
Use heavy-duty grounded cords
Never alter plug prongs
No exposed wires
Use GFCI protection
Keep cords out of walking paths
Narration
Electrical safety starts with inspecting cords, plugs, and temporary wiring before use. Extension cords must be heavy-duty, grounded, undamaged, and used with GFCI protection. Never alter plug prongs, never use cords with exposed wires, and do not route cords through doorways or across walking paths where...
PAL Environmental Services
Scene 6

## Slide 8
Ladder Safety
Use the safest option available
Visual / video clip placeholder
Use ladders only when safer options are not practical
A-frame ladders fully open and locked
Do not stand on the top step
Maintain three points of contact
Tie off straight ladders and extend above landing
Narration
Ladders should only be used for access or short-duration light-duty tasks when safer options are not practical. A-frame ladders must be fully opened with spreaders locked. Do not stand on the top step or straddle the top. Face the ladder while working and maintain three points of contact when climbing....
PAL Environmental Services
Scene 7

## Slide 9
Tools, LOTO, and Material Handling
Plan the work
Visual / video clip placeholder
Inspect tools, cords, guards, and accessories
Remove damaged tools from service
Control hazardous energy before work
Only authorized workers perform lockout/tagout
Plan lifts and ask for help
Narration
Employees must be trained before using hand or power tools. Inspect tools, cords, guards, and accessories before each use. Damaged tools must be removed from service and reported. When equipment or systems contain hazardous energy, lockout/tagout procedures are required. Material handling also requires...
PAL Environmental Services
Scene 8

## Slide 10
Fire Safety and Housekeeping
Keep the site clear
Visual / video clip placeholder
Know the site emergency action plan
Hot work requires the proper permit
Call 911 for serious fires
Keep doors, stairs, and extinguishers clear
Clean spills or barricade the area
Narration
Fire prevention means controlling heat, oxygen, and fuel. Know the site-specific emergency action plan. Hot work requires the proper permit and must follow federal, city, local, and project requirements. If a fire is too large, call 911 first. Housekeeping must be performed daily. Keep walkways, aisles,...
PAL Environmental Services
Scene 9

## Slide 11
HazCom, Scaffolds, and Lifts
Know the controls
Visual / video clip placeholder
Know SDS location
Label containers properly
Scaffolds inspected and documented daily
Never stand on guardrails
Only trained employees use lifts
Narration
All employees must understand hazard communication, GHS labels, and the location of Safety Data Sheets. Scaffolds must be erected by a competent person, installed according to manufacturer requirements, inspected daily, and documented. Mobile elevating work platforms and scissor lifts may only be used by...
PAL Environmental Services
Scene 10

## Slide 12
Heavy Equipment and Confined Space
Stay alert
Visual / video clip placeholder
Listen for backup alarms
Make eye contact with operators
Stay clear of loading areas
Watch overhead and underground hazards
Confined space requires special training
Narration
When working near heavy equipment, stay alert. Listen for backup alarms, make eye contact with operators, stay clear of loading areas, and never walk beside equipment being loaded. Confined space entry requires specialized training. Hazards may include low oxygen, hazardous atmosphere, explosive gases,...
PAL Environmental Services
Scene 11

## Slide 13
Asbestos, Lead, Silica, and Environmental Issues
Authorized work only
Visual / video clip placeholder
Only trained workers handle asbestos or lead
Use engineering controls and required PPE
Control silica dust with wet methods or HEPA vacuums
Dispose of waste properly
Ask your supervisor before disposal
Narration
Only authorized and trained personnel may handle or remove asbestos-containing materials or lead. PAL and all federal, state, local, and project requirements must be followed. Respirable crystalline silica can cause serious illness. Wet methods, HEPA vacuums, dust collection, medical surveillance when...
PAL Environmental Services
Scene 12

## Slide 14
Emergency Action Plan
Know where to go
Visual / video clip placeholder
Know the posted EAP
Know your muster point
Walk, do not run
Stay until released
Notify PAL supervision and EH&S
Narration
Every project must have an emergency action plan posted. Know your muster point before work begins. During an emergency, walk, do not run. Shut down heavy equipment if safe to do so, report to the muster point, and do not leave until released. After notifying proper authorities, PAL supervision and EH&S...
PAL Environmental Services
Scene 13

## Slide 15
Discipline, Reporting, and Return To Work
Report immediately
Visual / video clip placeholder
Stop unsafe work
Report all incidents immediately
Investigations are fact finding, not fault finding
Medical paperwork is required before returning
Light duty may be available if authorized
Narration
PAL has disciplinary rules for serious safety violations and repeated non-serious violations. At the same time, no one has the right to put you in an unsafe situation, and no employee will be penalized for refusing unsafe work. All accidents and incidents must be reported immediately to your supervisor and...
PAL Environmental Services
Scene 14

## Slide 16
Alcohol, Drugs, Smoking, and Testing
Zero tolerance
Visual / video clip placeholder
Drug-free workplace
No alcohol during work or lunch breaks
Illegal drugs are prohibited
No smoking on NYC construction sites
Testing may be required
Narration
PAL maintains a drug-free and alcohol-free workplace. Alcohol consumption is not allowed, including during lunch breaks. Illegal drugs, controlled substances, drug paraphernalia, or reporting to work under the influence are prohibited. Smoking is not permitted on New York City construction sites. PAL...
PAL Environmental Services
Scene 15

## Slide 17
Questions and Acknowledgement
Stop and ask when unsure
Visual / video clip placeholder
Ask your supervisor, foreman, or superintendent
Contact PAL EH&S with concerns
Do not continue if you are unsure
Complete the acknowledgement before starting work
Narration
If you have questions, ask your supervisor, foreman, general superintendent, or PAL EH&S. Safety depends on communication. If you are unsure, stop and ask before continuing. Thank you for completing PAL Environmental Services orientation.
PAL Environmental Services
Scene 16

## Slide 18
Canva Production Notes
Upload this deck into Canva as a presentation or video project.
Replace visual placeholders with PAL jobsite photos, Canva stock clips, or AI-generated safety clips.
Use the narration file for voiceover, then add captions from the short bullet text.
Recommended video length: 10-14 minutes, or combine scenes for a 5-7 minute short version.
Office/safety should approve the script before final export.
PAL Environmental Services
Scene 17